- Bozeman dataset columns

- Recommended columns to keep

| Column | Reason to keep |
| --- | --- |
| X, Y | Spatial coordinates (for mapping or spatial features) |
| Break_Date | Essential for time-based splits and age calculation |
| Address | Optional for interpretation |
| Pipe_Size | Important feature (diameter) |
| Leak_Type | Target or auxiliary target (failure mode) |
| Pipe_ID | Pipe identifier (some pipes have multiple breaks) |
| Install_Year | Installation year – critical for Age |
| Detected | May indicate detection method |

- Kitchener water mains break dataset columns

- Recommended features to keep

| Column | Reason to keep |
| --- | --- |
| Break_Date | Date of break |
| Nature_of_Break | Failure mode (Circumferential, Corrosion, etc.) |
| Cause_of_Break | Cause (AGE, CORROSION, etc.) |
| Pipe_ID | Key — links to mains table |
| Pipe_Size_cm | Diameter |
| Install_Year | Installation year |
| Material | Material (CI, DI, PVC, ...) |
| X, Y | Spatial coordinates |
| Asset_Type | Filter to keep only "MAIN" |

- Kitchener water mains dataset columns

- Recommended features to keep

| Column | Reason to keep |
| --- | --- |
| Pipe_ID | Unique pipe ID — primary key |
| Pipe_Size_mm | Diameter |
| Material | Pipe material |
| Install_Date | Installation date/year |
| Pressure_Zone | Operational zone |
| Condition_Score | Existing condition assessment |
| Length_m | Pipe length (very useful for exposure/rate) |
| Is_Shallow | Risk factor |
| Is_Lined | Lining status |

- Important features

- Recommended features to keep

| Feature | Why its important | Typical use - XGBoost |
| --- | --- | --- |
| Age_at_Break | Strongest predictor — older pipes fail more | Main numeric feature |
| Break_Year | Helps with temporal train/test split | For time-based validation |
| Age_Squared | Captures accelerating failure risk with age | mproves non-linear modeling |
| Leak_Type | Standardized failure mode (useful as feature or secondary target) | Categorical feature – one-hot or target encoding |